DEVELOPMENT OF KINETIC SPECTROPHOTOMETRIC METHOD AND HPLC METHOD FOR INSECTICIDE DIFLUBENZURON DETERMINATION IN WATER SAMPLES AND BABY FOOD SAMPLES

Emilija T. Pecev-Marinković1*, Zora M. Grahovac1, Aleksandra N. Pavlović1, Snežana B. Tošić1, Ivana D. Rašić Mišić1, Milan N. Mitić1, Ana S. Miletić1, D. M. Sejmanović2

1Faculty of Sciences and Mathematics, Department of Chemistry, University of Niš, Višegradska 33,

P.O.Box 224, 18000 Niš, Serbia,

2Faculty of Science and Mathematics University of Pristina, Kosovska Mitrovica,  Lole Ribara 29 Street, Kosovo

In the present study, a new sensitive and simple kinetc-spectrophotometric method for the determination of diflubenzuron (DFB) is proposed. The method is based on the inhibited effect of DFB on the oxidation of sulfanilic acid (SA) by hydrogen peroxide in phosphate buffer in presence Co(II) ion. DFB was determined with linear calibration graph in the interval from 0.102 – 3.40 μg mL-1 and from 3.40 – 23.80 μg    mL-1. The kinetic parameters of the reaction are reported, and the rate equations are suggested. The developed procedure was successfully applied to the rapid determination of DFB in water and baby juices. The HPLC method was used like an comparative method to verify results. The proposed kinetic-spectrophotometric method for determination of DFB in fruit and baby juice reported in this paper is sample, rapid, inexpensive and thus is very appropriate for routine quality control analysis of this herbicide in the food. The procedure is easier to execute and requires less sample handling than methods currently described in the literature. Statistical comparison of the results with official HPLC method showed good agreement and indicates no significant difference in accuracy and precision. Reliable recovery data were found at various concentrations and good limits of quantification were attained.

We, above mentioned authors state that the article is original and has not been considered for publication elsewhere in any other medium, including reprints, electronic journals and computer databases in the public domain.

The reviewers that we provide are:

1. dr Slavica Sunaric

University of Niš, Faculty of Medicine, Department of Chemistry, Niš, Serbia

e-mail: slavica.sunaric@medfak.ni.ac.rs

2. dr Dragan Velimirivic

University of Niš, Faculty of Medicine, Department of Chemistry, Niš, Serbia

e-mail: dragan.velimirovic@medfak.ni.ac.rs

3. dr Angelina Stojanova

Department of Chemistry and Biochemistry & Physics and Biophysics

University of Medicine

St. Kliment Ohridski Street,

Pleven, Bulgaria

e-mail: astoy@abv.bg

For authors

Emilija Pecev-Marinković

Corresponding author is Emilija Pecev-Marinković

e-mail: emapecev@medianis.net